## Log Sheet
Distribution System Influent Hold Study Log Sheet
Study Location: | [5 empty] | Notes:
Sample Team:
| Verifcation/Calibration? (check box): |  | Colorimeter |  |  | pH Meter |  | 1 Collect raw bromide and raw/finished TOC samples during initial sample.
Sample Identification | Target Sample Time | Actual Sample Time | Actual Sample Date | Free Chlorine #1 (mg/L as Cl2) | Free Chlorine #2 (mg/L as Cl2) | Total Chlorine (mg/L as Cl2) | Sample Temperature (°C) | Bath Temperature (°C) | pH | DBP Sample ID | Analyst Initials | Comments
Reagent Lot # (if applicable)
Initial Sample1 | t = 0
Bottle #1
Bottle #2
Bottle #3
Bottle #4
Bottle #5

## Data Entry
Distribution System Influent Hold Study Data Entry Worksheet
Enter data into red columns.
|  | Raw Bromide |  |  |  | mg/L as Br
|  | Raw Total Organic Carbon |  |  |  | mg/L as C
|  | Finished Total Organic Carbon |  |  |  | mg/L as C | [6 empty] | Target Free Chlorine Concentration at End of Study = | 0.2 | mg/L as Cl2
Sample Identification | Sample Time & Date | Elapsed Time (days) | Free Chlorine #1 (mg/L as Cl2) | Free Chlorine #2 (mg/L as Cl2) | Avg. Free Chlorine (mg/L as Cl2) | LN(C/C0) | Chlorine Demand (mg/L as Cl2) | Total Chlorine (mg/L as Cl2) | Sample Temperature (°C) | Bath Temperature (°C) | pH | TTHM (μg/L) | HAA5 (μg/L) |  | Comments
Initial Sample |  | #N/A |  |  | #N/A | #N/A | #N/A
Bottle #1 |  | #N/A |  |  | #N/A | #N/A | #N/A
Bottle #2 |  | #N/A |  |  | #N/A | #N/A | #N/A
Bottle #3 |  | #N/A |  |  | #N/A | #N/A | #N/A
Bottle #4 |  | #N/A |  |  | #N/A | #N/A | #N/A
Bottle #5 |  | #N/A |  |  | #N/A | #N/A | #N/A
"Model Predicted" Bottle #6 |  | #N/A |  |  | #N/A | #N/A | #N/A |  |  |  |  | #N/A
"Model Predicted" Bottle #7 |  | #N/A |  |  | #N/A | #N/A | #N/A |  |  |  |  | #N/A
"Model Predicted" Bottle #8 |  | #N/A |  |  | #N/A | #N/A | #N/A |  |  |  |  | #N/A
"Model Predicted" Bottle #9 |  | #N/A |  |  | #N/A | #N/A | #N/A |  |  |  |  | #N/A
"Model Predicted" Bottle #10 |  | #N/A |  |  | #N/A | #N/A | #N/A |  |  |  |  | #N/A
Note on P5: Alexander, Matthew: Do not enter 0.00, instead enter 0.01.

## ESRI_MAPINFO_SHEET (hidden)
DO NOT EDIT
For Esri use only